产品特性

Intelligent IGBT module heat protection design

Built-in dynamic junction temperature model, Monitor

IGBT junction temperature in real time.

Unique short-circuit and circuit through protection

technology, protect system security.

Delay overcurrent protection reset, suppress overcurrent .

Adaptive IGBT drive control stability design

Reliable self-developed IGBT module stability design platform.

Able to obtain main parameters in the IGBT open/close process, to evaluate the function and

performance of IGBT drive board.

Able to evaluate the reasonableness of IGBT module design, to ensure the design of product power

system is safe and reliable, guarantee the stable operation of power system.

4kW and above models are configured

DC reactor as standard

Decrease 50% of current distortion rate.

Inhibit impact from grid, protect rectifier bridge.

Increase the power factor of input side.

Increase the overall efficiency and heat stability of the VFD.

Inhibit the effect from higher harmonics of input side to the VFD,

decrease external transmission and radiation interference.

Profibus communication

Convenient communication setting.

Good environmental adaptability.

Support five PPO data communication

format (PPO1 ~ PPO5).

Built-in powerful logic and arithmetic modules, support custom DIY for special functions

Built-in simplified PLC, control terminals can

be customize, user can design operation

mode according to his special requirement.

| Specification | Value |
| --- | --- |
| Input Voltage | 200V (-15%) ~ 240V (+10%) 1PH/3PH； 380V (-15%) ~ 480V (+10%) 3PH 500V；500V (-15%) ~ 690V (+10%) 3PH |
| Input Frequency | 50Hz/60Hz±5% |
| Maximum Supply Imbalance | ≤3% |
| Output Voltage | 0V ~ Uin |
| Output Frequency | 0Hz ~ 300Hz |
| Power Range | 0.4kW ~ 500kW |
| Mounting Method | Cabinet installation, Through panel, surface mounting |
| Ingress Protection | IP20, IP21 (by adding optional device) |
| Torque Accuracy | ≤5% (OLVC) |
| Storage Temperature | -40 ℃~+70℃ |
| Starting Torque | 0.5Hz: 150% (OLVC), 1Hz: 150% (OLVC) |